## Data
Date | Gross Generation 12MW (MW) | Aux 12MW (MW) | Gross Generation 43 MW (MW) | Aux 43MW (MW) | Gross Generation 80 (MW) | Aux 80 MW (MW) | 80 MW STG Running Hours (Hours) | 43 MW STG Running Hours (Hours) | 12 MW STG Running Hours (Hours) | Coal - Thermax 350 TPH (MT) | Coal - ISGEC 350 TPH (MT) | Coal - Thermax AFBC-1 105 TPH (MT) | Coal - Thermax AFBC-2 105 TPH (MT) | Coal CV 80 and 43 MW (Kcal/Kg) | Lignite - Thermax 350 TPH (MT) | Lignite - ISGEC 350 TPH (MT) | Lignite - Thermax AFBC-1 105 TPH (MT) | Lignite - Thermax AFBC-2 105 TPH (MT) | Lignite CV 80 amd 43 MW (Kcal/Kg) | Tail Gas (Hrs & Volume) 80 and 43 | BFG - Thermax 350 TPH (HRS) | BFG - Thermax 350 TPH (Nm3/hr) | BFG - Thermax 350 TPH (Density) | BFG - Thermax 350 TPH (CV) | SSC 43MW | SSC 80MW | Thermax 350 TPH (MT) | ISGEC 350 TPH (MT) | Thermax AFBC-1 105 TPH (MT) | Thermax AFBC-2 105 TPH (MT) | Thermax 350 TPH (Running Hrs) | ISGEC 350 TPH(Running Hrs) | Thermax AFBC-1 105 TPH(Running Hrs) | Thermax AFBC-2 105 TPH(Running Hrs) | WHRB-1 (MT) | WHRB-2 (MT) | WHRB-3 (MT) | WHRB-4 (MT) | Steam 30TPH (MT) | Steam 20 TPH (MT) | Steam 30TPH(running Hrs) | Steam 20 TPH(running Hrs) | Coal 12MW (MT) | Dolochar 12MW (MT) | NG Consumption (SCFM) | Steam To Dearator (43MW) | Steam To Dearator (80MW) | Boiler Efficiency Thermax 350 TPH (%) | Boiler Efficiency ISGEC CFBC (%) | Boiler Efficiency Thermax AFBC-1 (%) | Boiler Efficiency Thermax AFBC-2 (%) | Boiler Efficiency Steam 20TPH (%) | Boiler Efficiency Steam 30TPH (%) | Net Enthalpy Thermax IR-CFBC (Kcal/Kg) | Net Enthalpy ISGEC CFBC (Kcal/Kg) | Net Enthalpy Thermax AFBC-1 (Kcal/Kg) | Net Enthalpy Thermax AFBC-2 (Kcal/Kg) | Net Enthalpy 30TPH/20TPH (Kcal/Kg) | WHRB-1 Running Hr | WHRB-2 Running Hr | WHRB-3 Running Hr | WHRB-4 Running Hr
2022-11-01 | 126.672 | 23.718 | 352 | 58.87 | 1469 | 144.93 | 24 | 24 | 24 | 257 | 204 |  | 104 | 4431 | 236 | 265 |  | 208 | 3325 | 0 |  |  |  |  | 4.6676 | 4.57 |  | 7494 |  | 1663 |  | 24 |  | 24 | 210 | 225 | 207 | 171 | 126 | 162 | 24 | 24 | 169 | 168 | 0 | 22 | 130 |  | 82.4231 | 89 | 74.1142 | 76 | 79 |  | 591.17 | 580 | 528 | 515 | 24 | 24 | 24 | 24
2022-11-02 | 123.864 | 20.922 | 436 | 60.5 | 1326 | 147 | 24 | 24 | 24 | 127 | 157 |  | 196 | 4343 | 129 | 178 |  | 224 | 2882 | 0 |  |  |  |  | 4.3188 | 4.4 |  | 7271 |  | 1903 |  | 24 |  | 24 | 192 | 229 | 217 | 188 | 142 | 206 | 24 | 24 | 160 | 132 | 0 | 119 | 195 |  | 81.3029 | 85 | 74.3961 | 82 | 90 |  | 598.405 | 564 | 558 | 512 | 24 | 24 | 24 | 24
2022-11-03 | 122.376 | 20.811 | 347 | 58.99 | 1328 | 175.91 | 24 | 24 | 24 | 285 | 261 | 269 | 160 | 4284 | 183 | 296 | 281 | 299 | 3024 | 0 |  |  |  |  | 4.39 | 4.32 | 2387 | 4782 | 2893 | 1491 | 24 | 24 | 24 | 24 | 189 | 219 | 230 | 212 | 233 | 223 | 24 | 24 | 172 | 107 | 0 | 93 | 192 | 73.0626 | 80.7992 | 73 | 74.5068 | 87 | 73 | 599.482 | 599.473 | 600 | 518 | 565 | 24 | 24 | 24 | 24
2022-11-04 | 133.992 | 21.294 | 104 | 58.36 | 1595 | 163.08 | 24 | 9 | 24 | 123 | 130 | 276 | 163 | 4284 | 227 | 259 | 103 | 100 | 3397 | 5.75 |  |  |  |  | 4.3942 | 4.17 | 5652 | 1503 | 6614 | 1363 | 24 | 24 | 24 | 24 | 215 | 240 | 246 | 130 | 188 | 108 | 24 | 9 | 153 | 164 | 14.38 | 100 | 32 | 82.7269 | 76.3892 | 87 | 74.5756 | 86 | 82 | 597.849 | 544.33 | 520 | 573 | 552 | 24 | 24 | 24 | 24
2022-11-05 | 136.776 | 23.007 |  |  | 1668 | 212.51 | 24 |  | 24 | 149 | 199 | 170 | 112 | 4247 | 145 | 229 | 136 | 154 | 3655 | 12 | [5 empty] | 4.1 | 6849 | 6881 | 6393 | 1354 | 24 | 24 | 24 | 24 | 219 | 242 | 253 | 192 | 129 | 201 | 24 | 19 | 108 | 145 | 160 | 140 |  | 83.0533 |  | 80 | 74.5668 | 77 | 85 | 593.512 |  | 550 | 531 | 559 | 24 | 24 | 24 | 24
2022-11-06 | 136.8 | 22.644 |  |  | 1681 | 211.01 | 24 |  | 24 | 160 | 158 | 176 | 223 | 4372 | 243 | 149 | 101 | 150 | 3246 | 21.5 | [5 empty] | 4.07 | 6846 | 5500 | 3288 | 1328 | 24 | 24 | 24 | 24 | 204 | 248 | 262 | 156 | 213 | 181 | 24 | 22 | 186 | 123 | 50.21 | 94 |  | 83.0084 |  | 77 | 74.3677 | 78 | 84 | 595.003 |  | 541 | 558 | 585 | 24 | 24 | 24 | 24
2022-11-07 | 132.336 | 22.551 |  |  | 1772 | 205.47 | 24 |  | 24 | 217 | 196 | 249 | 180 | 4314 | 135 | 259 | 113 | 175 | 3248 | 20.38 | [5 empty] | 4.06 | 7204 | 2921 | 4809 | 1351 | 24 | 24 | 24 | 24 | 214 | 236 | 243 | 239 | 124 | 125 | 24 | 22 | 136 | 192 | 59.79 | 66 |  | 83.1604 |  | 86 | 74.387 | 79 | 84 | 592.848 |  | 594 | 592 | 514 | 24 | 24 | 24 | 24
2022-11-08 | 121.416 | 20.223 |  |  | 1691 | 203.73 | 24 |  | 24 | 146 | 105 | 119 | 149 | 4249 | 288 | 270 | 227 | 120 | 3034 | 19.86 | [5 empty] | 4.03 | 6828 | 5099 | 6032 | 1376 | 24 | 24 | 24 | 24 | 203 | 214 | 223 | 217 | 225 | 176 | 24 | 21 | 172 | 110 | 345.63 | 69 |  | 83.0579 |  | 90 | 74.4109 | 74 | 78 | 594.936 |  | 590 | 562 | 563 | 24 | 24 | 24 | 24
2022-11-09 | 152.352 | 23.946 |  |  | 1487 | 187.3 | 24 |  | 24 | 259 | 132 | 215 | 207 | 4308 | 236 | 118 | 211 | 192 | 2943 | 23.16 | [5 empty] | 4.04 | 6024 | 4748 | 1609 | 1443 | 24 | 24 | 24 | 24 | 204 | 231 | 231 | 109 | 143 | 225 | 24 | 12 | 108 | 136 | 169.79 | 73 |  | 82.7077 |  | 72 | 75.4109 | 70 | 70 | 601.607 |  | 509 | 598 | 547 | 24 | 24 | 24 | 24
2022-11-10 | 158.856 | 24.954 |  |  | 1564 | 198.37 | 24 |  | 24 | 207 | 142 | 191 | 214 | 4308 | 160 | 267 | 210 | 241 | 2823 | 7.75 | [5 empty] | 4.06 | 6364 | 4737 | 2527 | 1408 | 24 | 24 | 24 | 24 | 190 | 210 | 205 | 186 | 129 | 117 | 24 | 8 | 198 | 118 | 49.58 | 84 |  | 82.8963 |  | 74 | 74.5622 | 84 | 71 | 598.136 |  | 538 | 547 | 507 | 24 | 24 | 24 | 24
2022-11-11 | 156.384 | 24.513 |  |  | 1119 | 170.4 | 24 |  | 24 | 299 | 260 | 179 | 162 | 4360 | 225 | 201 | 295 | 283 | 3196 | 0 | [5 empty] | 4.04 | 4536 | 3772 | 2890 | 1334 | 24 | 24 | 24 | 24 | 192 | 191 | 196 | 189 | 203 | 199 | 24 | 15 | 117 | 174 | 0 | 80 |  | 80.8547 |  | 83 | 74.5448 | 74 | 78 | 614.727 |  | 586 | 577 | 549 | 24 | 24 | 24 | 24
2022-11-12 | 144.84 | 21.552 |  |  | 1070 | 178.26 | 24 |  | 24 | 158 | 245 | 183 | 119 | 4301 | 171 | 270 | 133 | 139 | 2720 | 0.2 | [5 empty] | 4.045 | 4342 | 4564 | 2497 | 1341 | 24 | 24 | 24 | 24 | 175 | 193 | 176 | 179 | 144 | 150 | 24 | 21 | 138 | 117 | 8.33 | 62 |  | 80.311 |  | 89 | 74.5518 | 71 | 88 | 617.514 |  | 517 | 585 | 536 | 24 | 24 | 24 | 24
2022-11-13 | 174.24 | 23.844 |  |  | 1427 | 192.17 | 24 |  | 24 | 280 | 164 | 197 | 287 | 4275 | 162 | 270 | 213 | 286 | 2869 | 19.62 | [5 empty] | 4.05 | 5786 | 4057 | 2976 | 1377 | 24 | 24 | 24 | 24 | 207 | 218 | 208 | 211 | 227 | 117 | 24 | 22 | 149 | 154 | 113.54 | 60 |  | 82.5485 |  | 79 | 74.6286 | 79 | 77 | 603.562 |  | 514 | 535 | 531 | 24 | 24 | 24 | 24
2022-11-14
2022-11-15
2022-11-16
2022-11-17
2022-11-18
2022-11-19
2022-11-20

## Data (2)
Date | Gross Generation 12MW (MW) | Aux 12MW (MW) | Gross Generation 43 MW (MW) | Aux 43MW (MW) | Gross Generation 80 (MW) | Aux 80 MW (MW) | 80 MW STG Running Hours (Hours) | 43 MW STG Running Hours (Hours) | 12 MW STG Running Hours (Hours) | 80Gross Gen(MW/Hr) | 80Aux Gen(MW/Hr) | 80Per Aux | Ratio of Coal 80-43MW | Coal Con 80-43MW | Coal 80 and 43 MW (MT) | Coal - Thermax 350 TPH (MT) | Coal - ISGEC 350 TPH (MT) | Coal - Thermax AFBC-1 105 TPH (MT) | Coal - Thermax AFBC-2 105 TPH (MT) | Coal CV 80 and 43 MW (Kcal/Kg) | Lignite - Thermax 350 TPH (MT) | Lignite - ISGEC 350 TPH (MT) | Lignite - Thermax AFBC-1 105 TPH (MT) | Lignite - Thermax AFBC-2 105 TPH (MT) | Lignite 80 and 43 MW (MT) | Ratio of Lignite 80-43MW2 | Lignite CV 80 amd 43 MW (Kcal/Kg) | Tail Gas (Hrs & Volume) 80 and 43 | BFG - Thermax 350 TPH (HRS) | BFG - Thermax 350 TPH (Nm3/hr) | BFG - Thermax 350 TPH (Density) | BFG - Thermax 350 TPH (CV) | Ratio Coal - Thermax 350 TPH (MT) | Ratio Coal - ISGEC 350 TPH (MT) | Ratio Coal - Thermax AFBC-1 105 TPH (MT) | Ratio Coal - Thermax AFBC-2 105 TPH (MT) | Ratio Lignite - Thermax 350 TPH (MT) | Ratio Lignite - ISGEC 350 TPH (MT) | Ratio Lignite - Thermax AFBC-1 105 TPH (MT) | Ratio Lignite - Thermax AFBC-2 105 TPH (MT) | SSC 12MW | SSC 43MW2 | SSC 80MW | Steam 0f 80-43MW | Thermax 350 TPH (MT) | ISGEC 350 TPH (MT) | Thermax AFBC-1 105 TPH (MT) | Thermax AFBC-2 105 TPH (MT) | Thermax 350 TPH (Running Hrs) | ISGEC 350 TPH(Running Hrs) | Thermax AFBC-1 105 TPH(Running Hrs) | Thermax AFBC-2 105 TPH(Running Hrs) | Steam con Thermax 350 TPH (MT)2 | Steam con ISGEC 350 TPH (MT)2 | Steam con Thermax AFBC-1 105 TPH (MT)2 | Steam con Thermax AFBC-2 105 TPH (MT)2 | Coal con Thermax 350 TPH (MT) | Coal con ISGEC 350 TPH (MT) | Coal con Thermax AFBC-1 105 TPH (MT) | Coal con Thermax AFBC-2 105 TPH (MT) | Lignite con Thermax 350 TPH (MT)222 | Lignite con ISGEC 350 TPH (MT)233 | Lignite con Thermax AFBC-1 105 TPH (MT)244 | Lignite con Thermax AFBC-2 105 TPH (MT)255 | WHRB-1 (MT) | WHRB-2 (MT) | WHRB-3 (MT) | WHRB-4 (MT) | Pro(TPH)WHRB-1 (MT) | Pro(TPH)WHRB-2(MT) | Pro(TPH)WHRB-3 (MT) | Pro(TPH)WHRB-4 (MT) | Sum WHRB TPH | Steam Gen.12MW | Steam 30TPH (MT) | Steam 20 TPH (MT) | Steam 30TPH(running Hrs) | Steam 20 TPH(running Hrs) | Steam Con 30TPH (MT)2 | Steam Con 20 TPH (MT)3 | Coal 12MW (MT) | Dolochar 12MW (MT) | NG Consumption (SCFM) | Steam To Dearator (43MW)/24 | Steam To Dearator (80MW)/24 | Steam To Dearator (43MW)2 | Steam To Dearator (80MW)3 | Boiler Efficiency Thermax 350 TPH (%) | Boiler Efficiency ISGEC CFBC (%) | Boiler Efficiency Thermax AFBC-1 (%) | Boiler Efficiency Thermax AFBC-2 (%) | Boiler Efficiency Steam 20TPH (%) | Boiler Efficiency Steam 30TPH (%) | Net Enthalpy Thermax IR-CFBC (Kcal/Kg) | Net Enthalpy ISGEC CFBC (Kcal/Kg) | Net Enthalpy Thermax AFBC-1 (Kcal/Kg) | Net Enthalpy Thermax AFBC-2 (Kcal/Kg) | Net Enthalpy 30TPH/20TPH (Kcal/Kg) | WHRB-1 Running Hr | WHRB-2 Running Hr | WHRB-3 Running Hr | WHRB-4 Running Hr
2022-11-01 | 126.672 | 23.718 | 352 | 58.87 | 1469 | 144.93 | 24 | 24 | 24 | 61.2083 | 6.0387 | 9.8659 | 11.7708 | 16.2071 | 565 | 257 | 204 |  | 104 | 4431 | 236 | 265 |  | 208 | 709 | 14.7708 | 3325 | 0 |  |  |  |  | #DIV/0! | 8.5 | #DIV/0! | 4.3333 | #DIV/0! | 11.0417 | #DIV/0! | 8.6667 | 17.9183 | 4.6676 | 4.57 | 9157 | 0 | 7494 |  | 1663 | 0 | 24 |  | 24 | #DIV/0! | 312.25 | #DIV/0! | 69.2917 | 0 | 36.7353 | #DIV/0! | 15.9904 | 0 | 28.2792 | #DIV/0! | 7.9952 | 210 | 225 | 207 | 171 | 8.75 | 9.375 | 8.625 | 7.125 | 33.875 | 1101 | 126 | 162 | 24 | 24 | 5.25 | 6.75 | 169 | 168 | 0 | 0.91667 | 5.4167 | 22 | 130 | 0 | 82.4231 | 0 | 74.1142 | 0 | 0 | 0 | 591.17 |  |  |  | 24 | 24 | 24 | 24
2022-11-02 | 123.864 | 20.922 | 436 | 60.5 | 1326 | 147 | 24 | 24 | 24 | 55.25 | 6.125 | 11.086 | 10 | 19.1125 | 480 | 127 | 157 |  | 196 | 4343 | 129 | 178 |  | 224 | 531 | 11.0625 | 2882 | 0 |  |  |  |  | #DIV/0! | 6.5417 | #DIV/0! | 8.1667 | #DIV/0! | 7.4167 | #DIV/0! | 9.3333 | 19.512 | 4.3188 | 4.4 | 9174 | 0 | 7271 |  | 1903 | 0 | 24 |  | 24 | #DIV/0! | 302.9583 | #DIV/0! | 79.2917 | 0 | 46.3121 | #DIV/0! | 9.7092 | 0 | 40.8483 | #DIV/0! | 8.4955 | 192 | 229 | 217 | 188 | 8 | 9.5417 | 9.0417 | 7.8333 | 34.4167 | 1174 | 142 | 206 | 24 | 24 | 5.9167 | 8.5833 | 160 | 132 | 0 | 4.9583 | 8.125 | 119 | 195 | 0 | 81.3029 | 0 | 74.3961 | 0 | 0 | 0 | 598.405 |  |  |  | 24 | 24 | 24 | 24
2022-11-03 | 122.376 | 20.811 | 347 | 58.99 | 1328 | 175.91 | 24 | 24 | 24 | 55.3333 | 7.3296 | 13.2462 | 20.3125 | 11.8492 | 975 | 285 | 261 | 269 | 160 | 4284 | 183 | 296 | 281 | 299 | 1059 | 22.0625 | 3024 | 0 |  |  |  |  | 11.875 | 10.875 | 11.2083 | 6.6667 | 7.625 | 12.3333 | 11.7083 | 12.4583 | 21.9229 | 4.39 | 4.32 | 11553 | 2387 | 4782 | 2893 | 1491 | 24 | 24 | 24 | 24 | 99.4583 | 199.25 | 120.5417 | 62.125 | 8.3754 | 18.3218 | 10.7546 | 9.3187 | 13.0437 | 16.1554 | 10.2954 | 4.9866 | 189 | 219 | 230 | 212 | 7.875 | 9.125 | 9.5833 | 8.8333 | 35.4167 | 1306 | 233 | 223 | 24 | 24 | 9.7083 | 9.2917 | 172 | 107 | 0 | 3.875 | 8 | 93 | 192 | 73.0626 | 80.7992 | 0 | 74.5068 | 0 | 0 | 599.482 | 599.473 |  |  |  | 24 | 24 | 24 | 24
2022-11-04 | 133.992 | 21.294 | 104 | 58.36 | 1595 | 163.08 | 24 | 9 | 24 | 66.4583 | 6.795 | 10.2245 | 20.9697 | 21.8671 | 692 | 123 | 130 | 276 | 163 | 4284 | 227 | 259 | 103 | 100 | 689 | 20.8788 | 3397 | 5.75 |  |  |  |  | 5.125 | 5.4167 | 11.5 | 6.7917 | 9.4583 | 10.7917 | 4.2917 | 4.1667 | 17.3387 | 4.3942 | 4.17 | 15132 | 5652 | 1503 | 6614 | 1363 | 24 | 24 | 24 | 24 | 235.5 | 62.625 | 275.5833 | 56.7917 | 45.9512 | 11.5615 | 23.9638 | 8.362 | 24.8987 | 5.8031 | 64.2136 | 13.63 | 215 | 240 | 246 | 130 | 8.9583 | 10 | 10.25 | 5.4167 | 34.625 | 1127 | 188 | 108 | 24 | 9 | 7.8333 | 12 | 153 | 164 | 14.38 | 4.1667 | 1.3333 | 100 | 32 | 82.7269 | 76.3892 | 0 | 74.5756 | 0 | 0 | 597.849 | 544.33 |  |  |  | 24 | 24 | 24 | 24
2022-11-05 | 136.776 | 23.007 | 0 | 0 | 1668 | 212.51 | 24 | 0 | 24 | 69.5 | 8.8546 | 12.7404 | 26.25 | 34.0905 | 630 | 149 | 199 | 170 | 112 | 4247 | 145 | 229 | 136 | 154 | 664 | 27.6667 | 3655 | 12 |  |  |  |  | 6.2083 | 8.2917 | 7.0833 | 4.6667 | 6.0417 | 9.5417 | 5.6667 | 6.4167 | 18.6253 | 0 | 4.1 | 21477 | 6849 | 6881 | 6393 | 1354 | 24 | 24 | 24 | 24 | 285.375 | 286.7083 | 266.375 | 56.4167 | 45.9664 | 34.5779 | 37.6059 | 12.0893 | 47.2345 | 30.048 | 47.0074 | 8.7922 | 219 | 242 | 253 | 192 | 9.125 | 10.0833 | 10.5417 | 8 | 37.75 | 1236 | 129 | 201 | 24 | 19 | 5.375 | 10.5789 | 108 | 145 | 160 | 5.8333 | 0 | 140 | 0 | 83.0533 | 0 | 0 | 74.5668 | 0 | 0 | 593.512 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-06 | 136.8 | 22.644 | 0 | 0 | 1681 | 211.01 | 24 | 0 | 24 | 70.0417 | 8.7921 | 12.5526 | 29.875 | 23.6569 | 717 | 160 | 158 | 176 | 223 | 4372 | 243 | 149 | 101 | 150 | 643 | 26.7917 | 3246 | 21.5 |  |  |  |  | 6.6667 | 6.5833 | 7.3333 | 9.2917 | 10.125 | 6.2083 | 4.2083 | 6.25 | 19.0095 | 0 | 4.07 | 16962 | 6846 | 5500 | 3288 | 1328 | 24 | 24 | 24 | 24 | 285.25 | 229.1667 | 137 | 55.3333 | 42.7875 | 34.8101 | 18.6818 | 5.9552 | 28.1728 | 36.9128 | 32.5545 | 8.8533 | 204 | 248 | 262 | 156 | 8.5 | 10.3333 | 10.9167 | 6.5 | 36.25 | 1264 | 213 | 181 | 24 | 22 | 8.875 | 8.2273 | 186 | 123 | 50.21 | 3.9167 | 0 | 94 | 0 | 83.0084 | 0 | 0 | 74.3677 | 0 | 0 | 595.003 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-07 | 132.336 | 22.551 | 0 | 0 | 1772 | 205.47 | 24 | 0 | 24 | 73.8333 | 8.5612 | 11.5954 | 35.0833 | 19.3409 | 842 | 217 | 196 | 249 | 180 | 4314 | 135 | 259 | 113 | 175 | 682 | 28.4167 | 3248 | 20.38 |  |  |  |  | 9.0417 | 8.1667 | 10.375 | 7.5 | 5.625 | 10.7917 | 4.7083 | 7.2917 | 18.4354 | 0 | 4.06 | 16285 | 7204 | 2921 | 4809 | 1351 | 24 | 24 | 24 | 24 | 300.1667 | 121.7083 | 200.375 | 56.2917 | 33.1982 | 14.9031 | 19.3133 | 7.5056 | 53.363 | 11.278 | 42.5575 | 7.72 | 214 | 236 | 243 | 239 | 8.9167 | 9.8333 | 10.125 | 9.9583 | 38.8333 | 1181 | 124 | 125 | 24 | 22 | 5.1667 | 5.6818 | 136 | 192 | 59.79 | 2.75 | 0 | 66 | 0 | 83.1604 | 0 | 0 | 74.387 | 0 | 0 | 592.848 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-08 | 121.416 | 20.223 | 0 | 0 | 1691 | 203.73 | 24 | 0 | 24 | 70.4583 | 8.4887 | 12.0479 | 21.625 | 37.2543 | 519 | 146 | 105 | 119 | 149 | 4249 | 288 | 270 | 227 | 120 | 905 | 37.7083 | 3034 | 19.86 |  |  |  |  | 6.0833 | 4.375 | 4.9583 | 6.2083 | 12 | 11.25 | 9.4583 | 5 | 21.3103 | 0 | 4.03 | 19335 | 6828 | 5099 | 6032 | 1376 | 24 | 24 | 24 | 24 | 284.5 | 212.4583 | 251.3333 | 57.3333 | 46.7671 | 48.5619 | 50.6891 | 9.2349 | 23.7083 | 18.8852 | 26.5727 | 11.4667 | 203 | 214 | 223 | 217 | 8.4583 | 8.9167 | 9.2917 | 9.0417 | 35.7083 | 1258 | 225 | 176 | 24 | 21 | 9.375 | 8.381 | 172 | 110 | 345.63 | 2.875 | 0 | 69 | 0 | 83.0579 | 0 | 0 | 74.4109 | 0 | 0 | 594.936 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-09 | 152.352 | 23.946 | 0 | 0 | 1487 | 187.3 | 24 | 0 | 24 | 61.9583 | 7.8042 | 12.5958 | 33.875 | 17.0037 | 813 | 259 | 132 | 215 | 207 | 4308 | 236 | 118 | 211 | 192 | 757 | 31.5417 | 2943 | 23.16 |  |  |  |  | 10.7917 | 5.5 | 8.9583 | 8.625 | 9.8333 | 4.9167 | 8.7917 | 8 | 15.4286 | 0 | 4.04 | 13824 | 6024 | 4748 | 1609 | 1443 | 24 | 24 | 24 | 24 | 251 | 197.8333 | 67.0417 | 60.125 | 23.2587 | 35.9697 | 7.4837 | 6.971 | 25.5254 | 40.2373 | 7.6256 | 7.5156 | 204 | 231 | 231 | 109 | 8.5 | 9.625 | 9.625 | 4.5417 | 32.2917 | 1143 | 143 | 225 | 24 | 12 | 5.9583 | 18.75 | 108 | 136 | 169.79 | 3.0417 | 0 | 73 | 0 | 82.7077 | 0 | 0 | 75.4109 | 0 | 0 | 601.607 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-10 | 158.856 | 24.954 | 0 | 0 | 1564 | 198.37 | 24 | 0 | 24 | 65.1667 | 8.2654 | 12.6835 | 31.4167 | 19.9416 | 754 | 207 | 142 | 191 | 214 | 4308 | 160 | 267 | 210 | 241 | 878 | 36.5833 | 2823 | 7.75 |  |  |  |  | 8.625 | 5.9167 | 7.9583 | 8.9167 | 6.6667 | 11.125 | 8.75 | 10.0417 | 13.4708 | 0 | 4.06 | 15036 | 6364 | 4737 | 2527 | 1408 | 24 | 24 | 24 | 24 | 265.1667 | 197.375 | 105.2917 | 58.6667 | 30.744 | 33.3592 | 13.2304 | 6.5794 | 39.775 | 17.7416 | 12.0333 | 5.8423 | 190 | 210 | 205 | 186 | 7.9167 | 8.75 | 8.5417 | 7.75 | 32.9583 | 1037 | 129 | 117 | 24 | 8 | 5.375 | 14.625 | 198 | 118 | 49.58 | 3.5 | 0 | 84 | 0 | 82.8963 | 0 | 0 | 74.5622 | 0 | 0 | 598.136 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-11 | 156.384 | 24.513 | 0 | 0 | 1119 | 170.4 | 24 | 0 | 24 | 46.625 | 7.1 | 15.2279 | 37.5 | 13.9244 | 900 | 299 | 260 | 179 | 162 | 4360 | 225 | 201 | 295 | 283 | 1004 | 41.8333 | 3196 | 0 |  |  |  |  | 12.4583 | 10.8333 | 7.4583 | 6.75 | 9.375 | 8.375 | 12.2917 | 11.7917 | 15.3724 | 0 | 4.04 | 12532 | 4536 | 3772 | 2890 | 1334 | 24 | 24 | 24 | 24 | 189 | 157.1667 | 120.4167 | 55.5833 | 15.1706 | 14.5077 | 16.1453 | 8.2346 | 20.16 | 18.7662 | 9.7966 | 4.7138 | 192 | 191 | 196 | 189 | 8 | 7.9583 | 8.1667 | 7.875 | 32 | 1170 | 203 | 199 | 24 | 15 | 8.4583 | 13.2667 | 117 | 174 | 0 | 3.3333 | 0 | 80 | 0 | 80.8547 | 0 | 0 | 74.5448 | 0 | 0 | 614.727 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-12 | 144.84 | 21.552 | 0 | 0 | 1070 | 178.26 | 24 | 0 | 24 | 44.5833 | 7.4275 | 16.6598 | 29.375 | 18.0766 | 705 | 158 | 245 | 183 | 119 | 4301 | 171 | 270 | 133 | 139 | 713 | 29.7083 | 2720 | 0.2 |  |  |  |  | 6.5833 | 10.2083 | 7.625 | 4.9583 | 7.125 | 11.25 | 5.5417 | 5.7917 | 14.4591 | 0 | 4.045 | 12744 | 4342 | 4564 | 2497 | 1341 | 24 | 24 | 24 | 24 | 180.9167 | 190.1667 | 104.0417 | 55.875 | 27.481 | 18.6286 | 13.6448 | 11.2689 | 25.3918 | 16.9037 | 18.7744 | 9.6475 | 175 | 193 | 176 | 179 | 7.2917 | 8.0417 | 7.3333 | 7.4583 | 30.125 | 1017 | 144 | 150 | 24 | 21 | 6 | 7.1429 | 138 | 117 | 8.33 | 2.5833 | 0 | 62 | 0 | 80.311 | 0 | 0 | 74.5518 | 0 | 0 | 617.514 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-13 | 174.24 | 23.844 | 0 | 0 | 1427 | 192.17 | 24 | 0 | 24 | 59.4583 | 8.0071 | 13.4667 | 38.6667 | 15.2974 | 928 | 280 | 164 | 197 | 287 | 4275 | 162 | 270 | 213 | 286 | 931 | 38.7917 | 2869 | 19.62 |  |  |  |  | 11.6667 | 6.8333 | 8.2083 | 11.9583 | 6.75 | 11.25 | 8.875 | 11.9167 | 14.04 | 0 | 4.05 | 14196 | 5786 | 4057 | 2976 | 1377 | 24 | 24 | 24 | 24 | 241.0833 | 169.0417 | 124 | 57.375 | 20.6643 | 24.7378 | 15.1066 | 4.7979 | 35.716 | 15.0259 | 13.9718 | 4.8147 | 207 | 218 | 208 | 211 | 8.625 | 9.0833 | 8.6667 | 8.7917 | 35.1667 | 1188 | 227 | 117 | 24 | 22 | 9.4583 | 5.3182 | 149 | 154 | 113.54 | 2.5 | 0 | 60 | 0 | 82.5485 | 0 | 0 | 74.6286 | 0 | 0 | 603.562 | 0 |  |  |  | 24 | 24 | 24 | 24
2022-11-14
2022-11-15
2022-11-16
2022-11-17
2022-11-18
2022-11-19
2022-11-20
Sum | 1820.904 | 293.979 | 1239 | 236.72 | 19197 | 2390.14 | 312 | 81 | 312 |  |  |  | 346.7197 |  |  | 2667 | 2353 | 2224 | 2276 |  | 2540 | 3031 | 2023 | 2571 |  | 367.8163 | [17 empty] | Sum Bolier | 62818 | 63329 | 42528 | 18732 | 264 | 312 | 264 | 312 |  |  |  |  | 340.3644 | 372.9867 | #DIV/0! | 116.017 | 336.9893 | 296.8847 | #DIV/0! | 104.4735 | 2614 | 2896 | 2897 | 2379 | [5 empty] | 15202 | 2226 | 2190 | 312 | 243 | 92.75 | 128.5967 | 1966 | 1840 |  |  |  | 1062 | 549 | 897.3878 | 320.9143 | 0 | 969.0233 | 0 | 0 | [5 empty] | 312 | 312 | 312 | 312
Rate_MW/Hr | 5.8362 | 0.94224 | 15.2963 | 2.9225 | 61.5288 | 7.6607 | [5 empty] | Coal Ratio | 24.2239 |  | Sum total coal | 9520 |  |  |  | Sum of Lignite | 10165 |  |  |  | Ratio Lignite | 25.8651 | [17 empty] | Con of Boiler | 237.947 | 202.9776 | 161.0909 | 60.0385 | [16 empty] | 10786 | 4416 |  | Con of Boiler | [6 empty] | 7.1346 | 9.0123
Avg Gross Gen. | 5.8362 |  | 15.2963 |  | 61.5288 | [9 empty] | Coal Cons. | 23.5538 | 26.9142 | 19.1223 | 8.2302 |  | 24.7315 | 20.8938 | 21.0222 | 7.2859 | [39 empty] | Steam Pro(TPH) | 8.3782 | 9.2821 | 9.2853 | 7.625 | [11 empty] | Coal Con 12MW | 7.7325 | [5 empty] | 2187.3254 | 41.0267 | 14.6715 |  | 44.3017
Per Aux |  | 16.1447 |  | 19.1057 |  | 12.4506 | [8 empty] | Total Fuel | 19685 | 5384 | 43.7036 |  |  |  | 56.2964 | [21 empty] | Total Steam 80-43MW | 187407 | [18 empty] | Comulitive | 34.5705 | [14 empty] | Dolochar Con 12MW | 8.262
[15 empty] | Ratio Coal | 10.1023 | 7.5417 | 8.4242 | 7.2949 |  | 9.6212 | 9.7147 | 7.6629 | 8.2404
[15 empty] | Coal Con 80-43 MW |  |  |  |  | Lignite Cons. | 18.4365
[64 empty] | SSC 12MW Cons | 8.3486

## KPI's
| Bullet points | - 3 Generation Unit (12 MW, 43 MW , 80MW) - 4 Boiler (Thermax 350 TPH ¦¦ ISGEC 350 TPH ¦¦ Thermax AFBC-1 105 TPH ¦¦ Thermax AFBC-2 105 TPH) - 6 boilers dedicated to 12MW generation plant( WHRB-1 ¦¦ WHRB-2 ¦¦ WHRB-3 ¦¦ WHRB-4 ¦¦ Steam 30TPH ¦¦ Steam 20TPH ) - 3 Fuels ( Coal ¦¦ Lignite ¦¦ Tailgas ) - Tail Gas Values - 2 Quality Measures for Coal and Lignite - 2 SSC( Specific Steam Consumption) for 43-80MW ( Calculated for 12MW) - Seperate fules for 12 MW plant (coal and dolochar) - NG consumption (sometimes used- Start-Up Fuel) - Steam to Derator for 43 and 80 MW - Operational parameters (Efficiency and Net Enthalpy)
Sr. No | KPI Title | Calculations | Remark
1 | Gross Generation Rate(MW/HR) | Gross generation/ STG Running Hours
2 | Aux Rate (MW/HR) | Aux / STG Running Hours |  | Completed
3 | Aux Power Percentage(%) | Aux/Gross generation
4 | Usable Gross Power (%) | 100 % - Aux power pecentage(%)
5 | Steam Consumption (TPH) | Thermax 350 TPH (MT) / Thermax 350 TPH (Running Hrs) | Do it for 4 Boilers | Completed
6 | Steam 30TPH Generation rate (TPH) | Steam 30TPH (MT) / Steam 30TPH(running Hrs) |  | Completed
7 | Steam 20TPH Generation rate (TPH) | Steam 20TPH (MT) / Steam 20TPH(running Hrs) |  | Completed
8 | Total WHRB Consumption (MW) | Sum (WHRB-1 to 4) |  | Completed
9 | Fuel Consumption / Boiler | Coal - Thermax 350 TPH | Do it for 3 fules and 4 boilers | Completed
10 | Tail Gas KPIs | as it is | it is used for Thermax - 350 TPH | Completed
11 | Quality Measures | as it is |  | Completed
12 | Steam to Derator Rate(MT/HR) | Steam To Dearator (43MW)/24 | do it for other derator | Completed
13 | Boiler Efficiency(%) | as it is | do it for all bolilers | Completed
14 | net Enthalphy | as it is | do it for all bolilers | Completed
15 | Specific Steam cons.(SSC) | as it is | 43 & 80MW | Completed
16 | Specific Steam cons.(SSC) | Auto Calculated | 12MW | Completed

## RAW
Date | Gross Generation 12MW (MW) | Aux 12MW (MW) | Gross Generation 43 MW (MW) | Aux 43MW (MW) | Gross Generation 80 (MW) | Aux 80 MW (MW) | 80 MW STG Running Hours (Hours) | 43 MW STG Running Hours (Hours) | 12 MW STG Running Hours (Hours) | Coal 80 and 43 MW (MT) | Lignite 80 and 43 MW (MT) | Tail Gas (Hrs & Volume) 80 and 43 (HRS) | Tail Gas (Hrs & Volume) 80 and 44 (Nm3/hr) | Coal CV 80 and 43 MW (Kcal/Kg) | Lignite CV 80 amd 43 MW (Kcal/Kg) | SSC 43MW (Kg/KWH) | SSC 80MW (Kg/KWH) | SSC 12MW (Kg/KWH) | Steam Production (MT) | Thermax 350 TPH (MT) | ISGEC 350 TPH (MT) | Thermax AFBC-1 105 TPH (MT) | Thermax AFBC-2 105 TPH (MT) | Steam WHRB (MT) | WHRB-1 (MT) | WHRB-2 (MT) | WHRB-3 (MT) | WHRB-4 (MT) | Steam 30TPH (MT) | Steam 20 TPH (MT) | Coal 12MW (MT) | Dolochar 12MW (MT) | NG Consumption (SCFM) | Steam To Dearator (43MW) (MT) | Steam To Dearator (80MW) (MT) | Boiler Efficiency Thermax 350 TPH (%) | Boiler Efficiency ISGEC CFBC (%) | Boiler Efficiency Thermax AFBC-1 (%) | Boiler Efficiency Thermax AFBC-2 (%) | Boiler Efficiency Steam 20TPH (%) | Boiler Efficiency Steam 30TPH (%) | Net Enthalpy Thermax IR-CFBC (Kcal/Kg) | Net Enthalpy ISGEC CFBC (Kcal/Kg)
2022-11-01 | 126.672 | 23.718 | 352 | 58.87 | 1469 | 144.93 | 24 | 24 | 24 | 1163.375 | 550 | 0 | 0 | 4431 | 3325 | 4.6676 | 4.57 | 5.0682 | 9157 | 0 | 7494 | 0 | 1663 | 642 | 210 | 225 | 207 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 130 | 0 | 82.4231 | 0 | 74.1142 | 0 | 0 | 0 | 591.17
2022-11-02 | 123.864 | 20.922 | 436 | 60.5 | 1326 | 147 | 24 | 24 | 24 | 1276.125 | 563 | 0 | 0 | 4343 | 2882 | 4.3188 | 4.4 | 5.1508 | 9174 | 0 | 7271 | 0 | 1903 | 638 | 192 | 229 | 217 | 0 | 0 | 0 | 0 | 0 | 0 | 119 | 195 | 0 | 81.3029 | 0 | 74.3961 | 0 | 0 | 0 | 598.405
2022-11-03 | 122.376 | 20.811 | 347 | 58.99 | 1328 | 175.91 | 24 | 24 | 24 | 1404.25 | 315 | 0 | 0 | 4284 | 3024 | 4.39 | 4.32 | 5.2134 | 8660 | 2387 | 4782 | 0 | 1491 | 638 | 189 | 219 | 230 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 192 | 73.0626 | 80.7992 | 0 | 74.5068 | 0 | 0 | 599.482 | 599.473
2022-11-04 | 133.992 | 21.294 | 104 | 58.36 | 1595 | 163.08 | 24 | 9 | 24 | 1133.65 | 540 | 5.75 | 9638.2582 | 4284 | 3397 | 4.3942 | 4.17 | 5.2317 | 8518 | 5652 | 1503 | 0 | 1363 | 701 | 215 | 240 | 246 | 0 | 0 | 0 | 0 | 0 | 14.38 | 100 | 32 | 82.7269 | 76.3892 | 0 | 74.5756 | 0 | 0 | 597.849 | 544.33
2022-11-05 | 136.776 | 23.007 | 0 | 0 | 1668 | 212.51 | 24 | 0 | 24 | 854.85 | 910 | 12 | 5534.4167 | 4247 | 3655 | 0 | 4.1 | 5.2202 | 8203 | 6849 | 0 | 0 | 1354 | 714 | 219 | 242 | 253 | 0 | 0 | 0 | 0 | 0 | 160 | 140 | 0 | 83.0533 | 0 | 0 | 74.5668 | 0 | 0 | 593.512 | 0
2022-11-06 | 136.8 | 22.644 | 0 | 0 | 1681 | 211.01 | 24 | 0 | 24 | 920.9625 | 802 | 21.5 | 9216.6977 | 4372 | 3246 | 0 | 4.07 | 5.2193 | 8174 | 6846 | 0 | 0 | 1328 | 714 | 204 | 248 | 262 | 0 | 0 | 0 | 0 | 0 | 50.21 | 94 | 0 | 83.0084 | 0 | 0 | 74.3677 | 0 | 0 | 595.003 | 0
2022-11-07 | 132.336 | 22.551 | 0 | 0 | 1772 | 205.47 | 24 | 0 | 24 | 1012.7 | 745.175 | 20.38 | 9912.0707 | 4314 | 3248 | 0 | 4.06 | 5.2367 | 8555 | 7204 | 0 | 0 | 1351 | 693 | 214 | 236 | 243 | 0 | 0 | 0 | 0 | 0 | 59.79 | 66 | 0 | 83.1604 | 0 | 0 | 74.387 | 0 | 0 | 592.848 | 0
2022-11-08 | 121.416 | 20.223 | 0 | 0 | 1691 | 203.73 | 24 | 0 | 24 | 936.85 | 775.925 | 19.86 | 9110.574 | 4249 | 3034 | 0 | 4.03 | 5.2711 | 8204 | 6828 | 0 | 0 | 1376 | 640 | 203 | 214 | 223 | 0 | 0 | 0 | 0 | 0 | 345.63 | 69 | 0 | 83.0579 | 0 | 0 | 74.4109 | 0 | 0 | 594.936 | 0
2022-11-09 | 152.352 | 23.946 | 0 | 0 | 1487 | 187.3 | 24 | 0 | 24 | 791.3 | 760.55 | 23.16 | 8965.6736 | 4308 | 2943 | 0 | 4.04 | 5.0869 | 7467 | 6024 | 0 | 0 | 1443 | 775 | 204 | 231 | 231 | 109 | 0 | 0 | 0 | 0 | 169.79 | 73 | 0 | 82.7077 | 0 | 0 | 75.4109 | 0 | 0 | 601.607 | 0
2022-11-10 | 158.856 | 24.954 | 0 | 0 | 1564 | 198.37 | 24 | 0 | 24 | 884.575 | 764.65 | 7.75 | 9042.5806 | 4308 | 2823 | 0 | 4.06 | 4.9794 | 7772 | 6364 | 0 | 0 | 1408 | 791 | 190 | 210 | 205 | 186 | 0 | 0 | 0 | 0 | 49.58 | 84 | 0 | 82.8963 | 0 | 0 | 74.5622 | 0 | 0 | 598.136 | 0
2022-11-11 | 156.384 | 24.513 | 0 | 0 | 1119 | 170.4 | 24 | 0 | 24 | 588.35 | 698.025 | 0 | 0 | 4360 | 3196 | 0 | 4.04 | 4.911 | 5870 | 4536 | 0 | 0 | 1334 | 768 | 192 | 191 | 196 | 189 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 80.8547 | 0 | 0 | 74.5448 | 0 | 0 | 614.727 | 0
2022-11-12 | 144.84 | 21.552 | 0 | 0 | 1070 | 178.26 | 24 | 0 | 24 | 620.125 | 747.225 | 0.2 | 10330 | 4301 | 2720 | 0 | 4.045 | 4.9917 | 5683 | 4342 | 0 | 0 | 1341 | 723 | 175 | 193 | 176 | 179 | 0 | 0 | 0 | 0 | 8.33 | 62 | 0 | 80.311 | 0 | 0 | 74.5518 | 0 | 0 | 617.514 | 0
2022-11-13 | 174.24 | 23.844 | 0 | 0 | 1427 | 192.17 | 24 | 0 | 24 | 661.125 | 759.525 | 19.62 | 9229.7655 | 4275 | 2869 | 0 | 4.05 | 4.8439 | 7163 | 5786 | 0 | 0 | 1377 | 844 | 207 | 218 | 208 | 211 | 0 | 0 | 0 | 0 | 113.54 | 60 | 0 | 82.5485 | 0 | 0 | 74.6286 | 0 | 0 | 603.562 | 0
2022-11-14 | [18 empty] | 0 |  |  |  |  | 0
2022-11-15 | [18 empty] | 0 |  |  |  |  | 0
2022-11-16 | [18 empty] | 0 |  |  |  |  | 0
2022-11-17 | [18 empty] | 0 |  |  |  |  | 0
2022-11-18 | [18 empty] | 0 |  |  |  |  | 0
2022-11-19 | [18 empty] | 0 |  |  |  |  | 0
2022-11-20 | [18 empty] | 0 |  |  |  |  | 0
2022-11-21 | [18 empty] | 0 |  |  |  |  | 0

## Power Data
DESCRIPTION | Remark | UOM | 2022-10-01 | 2022-10-02 | 2022-10-03 | 2022-10-04 | 2022-10-05 | 2022-10-06 | 2022-10-07 | 2022-10-08 | 2022-10-09 | 2022-10-10 | 2022-10-11 | 2022-10-12 | 2022-10-13 | 2022-10-14 | 2022-10-15 | 2022-10-16 | 2022-10-17 | 2022-10-18 | 2022-10-19 | 2022-10-20 | 2022-10-21 | 2022-10-22 | 2022-10-23 | 2022-10-24 | 2022-10-25 | 2022-10-26 | 2022-10-27 | 2022-10-28 | 2022-10-29 | 2022-10-30 | 2022-10-31
Gross Generation 12MW |  | MW | 2022-10-01: 112.296; 2022-10-02: 114.072; 2022-10-03: 115.512; 2022-10-04: 111.648; 2022-10-05: 112.224; 2022-10-06: 110.328; 2022-10-07: 110.448; 2022-10-08: 125.4; 2022-10-09: 135.48; 2022-10-10: 92.808; 2022-10-11: 109.968
Aux 12MW |  | MW | 2022-10-01: 20.595; 2022-10-02: 21.207; 2022-10-03: 21.144; 2022-10-04: 21.564; 2022-10-05: 21.207; 2022-10-06: 21.162; 2022-10-07: 21.579; 2022-10-08: 22.653; 2022-10-09: 22.881; 2022-10-10: 21.975; 2022-10-11: 22.323
Gross Generation 43 MW |  | MW | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Aux 43MW |  | MW | 2022-10-01: 3.84; 2022-10-02: 2.94; 2022-10-03: 3.78; 2022-10-04: 3.34; 2022-10-05: 3.6; 2022-10-06: 3.24; 2022-10-07: 3.87; 2022-10-08: 4.14; 2022-10-09: 3.51; 2022-10-10: 4.16; 2022-10-11: 3.79
Gross Generation 80 |  | MW | 2022-10-01: 1204; 2022-10-02: 306; 2022-10-03: 785; 2022-10-04: 1135; 2022-10-05: 1182; 2022-10-06: 1168; 2022-10-07: 1086; 2022-10-08: 1162; 2022-10-09: 1061; 2022-10-10: 1198; 2022-10-11: 1186
Aux 80 MW |  | MW | 2022-10-01: 135.96; 2022-10-02: 56.11; 2022-10-03: 108.04; 2022-10-04: 134.44; 2022-10-05: 136.07; 2022-10-06: 141.03; 2022-10-07: 136.23; 2022-10-08: 136.02; 2022-10-09: 134.14; 2022-10-10: 144.05; 2022-10-11: 145.88
80 MW STG Running Hours |  | Hours | 2022-10-01: 24; 2022-10-02: 7.48; 2022-10-03: 17.6; 2022-10-04: 24; 2022-10-05: 24; 2022-10-06: 24; 2022-10-07: 24; 2022-10-08: 24; 2022-10-09: 24; 2022-10-10: 24; 2022-10-11: 24
43 MW STG Running Hours |  | Hours | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
12 MW STG Running Hours |  | Hours | 2022-10-01: 24; 2022-10-02: 24; 2022-10-03: 24; 2022-10-04: 24; 2022-10-05: 24; 2022-10-06: 24; 2022-10-07: 24; 2022-10-08: 24; 2022-10-09: 24; 2022-10-10: 24; 2022-10-11: 24
Coal 80 and 43 MW |  | MT | 2022-10-01: 1326; 2022-10-02: 367; 2022-10-03: 850; 2022-10-04: 1033; 2022-10-05: 1050; 2022-10-06: 1041; 2022-10-07: 1088; 2022-10-08: 1136; 2022-10-09: 952; 2022-10-10: 1098; 2022-10-11: 1076
Coal - Thermax 350 TPH | Fuel Consumption | MT
Coal - ISGEC 350 TPH | Fuel Consumption | MT
Coal - Thermax AFBC-1 105 TPH | Fuel Consumption | MT
Coal - Thermax AFBC-2 105 TPH | Fuel Consumption | MT
Coal CV 80 and 43 MW | Quality | Kcal/Kg | 2022-10-01: 3761; 2022-10-02: 4068; 2022-10-03: 4168; 2022-10-04: 4168; 2022-10-05: 4124; 2022-10-06: 3830; 2022-10-07: 4022; 2022-10-08: 4129; 2022-10-09: 4085; 2022-10-10: 3985; 2022-10-11: 4023
Lignite 80 and 43 MW |  | MT | 2022-10-01: 1326; 2022-10-02: 367; 2022-10-03: 850; 2022-10-04: 1033; 2022-10-05: 1050; 2022-10-06: 1041; 2022-10-07: 1088; 2022-10-08: 1136; 2022-10-09: 952; 2022-10-10: 1098; 2022-10-11: 1076
Lignite - Thermax 350 TPH | Fuel Consumption | MT
Lignite - ISGEC 350 TPH | Fuel Consumption | MT
Lignite - Thermax AFBC-1 105 TPH | Fuel Consumption | MT
Lignite - Thermax AFBC-2 105 TPH | Fuel Consumption | MT
Lignite CV 80 amd 43 MW | Quality | Kcal/Kg | 2022-10-01: 2867; 2022-10-02: 2864; 2022-10-03: 2630; 2022-10-04: 2630; 2022-10-05: 2934; 2022-10-06: 3212; 2022-10-07: 2918; 2022-10-08: 2514; 2022-10-09: 3680; 2022-10-10: 3529; 2022-10-11: 2969
Tail Gas (Hrs & Volume) 80 and 43 |  | MT | 2022-10-01: 1326; 2022-10-02: 367; 2022-10-03: 850; 2022-10-04: 1033; 2022-10-05: 1050; 2022-10-06: 1041; 2022-10-07: 1088; 2022-10-08: 1136; 2022-10-09: 952; 2022-10-10: 1098; 2022-10-11: 1076
BFG - Thermax 350 TPH |  | HRS | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0
| Fuel Consumption | Nm3/hr | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0
|  | Density | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0
|  | Calorific Value | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0
SSC 43MW |  | Kg/KWH | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
SSC 80MW |  | Kg/KWH | 2022-10-01: 4.2957; 2022-10-02: 4.8072; 2022-10-03: 4.7758; 2022-10-04: 4.5366; 2022-10-05: 4.3824; 2022-10-06: 4.3955; 2022-10-07: 4.5764; 2022-10-08: 4.475; 2022-10-09: 4.5156; 2022-10-10: 4.4808; 2022-10-11: 4.4789
SSC 12MW | Auto Calculation | Kg/KWH | 2022-10-01: 5.4588; 2022-10-02: 5.479; 2022-10-03: 5.4453; 2022-10-04: 5.383; 2022-10-05: 5.4979; 2022-10-06: 5.4927; 2022-10-07: 5.4686; 2022-10-08: 5.4067; 2022-10-09: 5.3956; 2022-10-10: 5.8185; 2022-10-11: 5.4925
Steam Production |  | MT | 2022-10-01: 6491; 2022-10-02: 1878; 2022-10-03: 4503; 2022-10-04: 6411; 2022-10-05: 6470; 2022-10-06: 6466; 2022-10-07: 6165; 2022-10-08: 6520; 2022-10-09: 6132; 2022-10-10: 6730; 2022-10-11: 6683
Thermax 350 TPH |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
ISGEC 350 TPH |  | MT | 2022-10-01: 6491; 2022-10-02: 1878; 2022-10-03: 4503; 2022-10-04: 6411; 2022-10-05: 6470; 2022-10-06: 6466; 2022-10-07: 6165; 2022-10-08: 6520; 2022-10-09: 6132; 2022-10-10: 6730; 2022-10-11: 6683
Thermax AFBC-1 105 TPH |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Thermax AFBC-2 105 TPH |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Thermax 350 TPH (Running Hrs) |  | HRS | 2022-10-01: 0; 2022-10-02: 0
ISGEC 350 TPH(Running Hrs) |  | HRS | 2022-10-01: 24; 2022-10-02: 24
Thermax AFBC-1 105 TPH(Running Hrs) |  | HRS | 2022-10-01: 0; 2022-10-02: 0
Thermax AFBC-2 105 TPH(Running Hrs) |  | HRS | 2022-10-01: 0; 2022-10-02: 0
Steam WHRB |  | MT | 2022-10-01: 613; 2022-10-02: 625; 2022-10-03: 629; 2022-10-04: 601; 2022-10-05: 617; 2022-10-06: 606; 2022-10-07: 604; 2022-10-08: 678; 2022-10-09: 731; 2022-10-10: 540; 2022-10-11: 604
WHRB-1 |  | MT | 2022-10-01: 613; 2022-10-02: 625; 2022-10-03: 629; 2022-10-04: 601; 2022-10-05: 617; 2022-10-06: 606; 2022-10-07: 604; 2022-10-08: 678; 2022-10-09: 731; 2022-10-10: 540; 2022-10-11: 604
WHRB-2 |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
WHRB-3 |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
WHRB-4 |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Steam 30TPH |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Steam 20 TPH |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Steam 30TPH(running Hrs) |  | HRS | 2022-10-01: 0; 2022-10-02: 0
Steam 20 TPH(running Hrs) |  | HRS | 2022-10-01: 0; 2022-10-02: 0
Coal 12MW | Fuel Consumption | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Dolochar 12MW | Fuel Consumption | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
NG Consumption | Start-up Fuel | SCFM | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Steam To Dearator (43MW) |  | MT | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Steam To Dearator (80MW) |  | MT | 2022-10-01: 127; 2022-10-02: 57; 2022-10-03: 26; 2022-10-04: 150; 2022-10-05: 179; 2022-10-06: 183; 2022-10-07: 108; 2022-10-08: 177; 2022-10-09: 192; 2022-10-10: 171; 2022-10-11: 168
Steam To Dearator (43MW) | Calculated Col | MT/Hrs | 2022-10-01: 0
Steam To Dearator (80MW) | Calculated Col | MT/Hrs | 2022-10-01: 5.2917
Boiler Efficiency Thermax 350 TPH |  | % | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Boiler Efficiency ISGEC CFBC |  | % | 2022-10-01: 81.2135; 2022-10-02: 79.5991; 2022-10-03: 79.5796; 2022-10-04: 80.8324; 2022-10-05: 80.9288; 2022-10-06: 80.56; 2022-10-07: 80.21; 2022-10-08: 81.0075; 2022-10-09: 80.8852; 2022-10-10: 80.9998; 2022-10-11: 80.4312
Boiler Efficiency Thermax AFBC-1 |  |  | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Boiler Efficiency Thermax AFBC-2 |  | % | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Boiler Efficiency Steam 20TPH |  | % | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Boiler Efficiency Steam 30TPH |  | % | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Net Enthalpy Thermax IR-CFBC |  | Kcal/Kg | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Net Enthalpy ISGEC CFBC |  | Kcal/Kg | 2022-10-01: 623.97; 2022-10-02: 632.79; 2022-10-03: 647.484; 2022-10-04: 622.444; 2022-10-05: 620.906; 2022-10-06: 621.57; 2022-10-07: 623.636; 2022-10-08: 618.695; 2022-10-09: 621.708; 2022-10-10: 618.143; 2022-10-11: 618.517
Net Enthalpy Thermax AFBC-1 |  | Kcal/Kg | 2022-10-01: 0; 2022-10-02: 0; 2022-10-03: 0; 2022-10-04: 0; 2022-10-05: 0; 2022-10-06: 0; 2022-10-07: 0; 2022-10-08: 0; 2022-10-09: 0; 2022-10-10: 0; 2022-10-11: 0
Net Enthalpy Thermax AFBC-2 |  | Kcal/Kg | 2022-10-01: 623.97; 2022-10-02: 632.79; 2022-10-03: 647.484; 2022-10-04: 622.444; 2022-10-05: 620.906; 2022-10-06: 621.57; 2022-10-07: 623.636; 2022-10-08: 618.695; 2022-10-09: 621.708; 2022-10-10: 618.143; 2022-10-11: 618.517
Net Enthalpy 30TPH/20TPH |  | Kcal/Kg
Note on A11: Sachin Parmar: Qunatity
Note on A16: Sachin Parmar: Quality measure
Note on E16: Revised GCV report received from lab and updated the same
Note on F16: Revised GCV report received from lab and updated the same
Note on A28: Sachin Parmar: Specific Steam Consumption
Note on E29: STG stopped at 07:30 AM due to PH.
Note on F29: STG started at 06:52 AM.
Note on A31: Sachin Parmar: Sum of 20,21,22,23
Note on A40: Sachin Parmar: Sum of 25,26,27,28 dedicated to 12MW
Note on D57: Efficiency decreased due to coal consumption changed because of feeding coal quantity revised with consumption coal Vs bunker levels
Note on E57: Efficiency decreased due to col consumption changed because start up fuel seperated as per the yesterday meeting
Note on F57: Efficiency decreased due to col consumption changed because start up fuel seperated as per the yesterday meeting

## Sheet2
Plant | Boilers | Fuel |  |  | gross gen | x | 6.05 | w | 5.38 |  |  |  | steam Thermax
12 MW | Thermax 350 TPH (MT) | Coal |  |  |  | y | 3.05 | h | 7.2 |  |  | x | 281 | w | 682
43 MW | ISGEC 350 TPH (MT) | Lignite | [9 empty] | y | 201 | h | 240
80 MW | Thermax AFBC-1 105 TPH (MT) | Tail Gas |  |  | Rate gross | x | 12.6 | w | 5.38
| Thermax AFBC-2 105 TPH (MT) |  |  |  |  | y | 3.05 | h | 7.2
WHRB-1 (MT)
| WHRB-2 (MT) |  |  |  | Aux gross | x | 19.24 | w | 5.38
| WHRB-3 (MT) |  |  |  |  | y | 3.05 | h | 7.2
| WHRB-4 (MT) | [11 empty] | Thermax-350
| Steam 30TPH (MT) |  |  |  | per | x | 26.1 | w | 5.38 |  |  |  | x | y |  |  | Power-V1 | Frame-14
| Steam 20 TPH (MT) |  |  |  |  | y | 3.05 | h | 7.2 |  |  |  | 234 | 195 |  |  | First Boiler | Boiler.11
[17 empty] | 12mw Boiler | Boiler12mw_3
[13 empty] | h | w
[13 empty] | 508 | 1026
| 12mw | x | 133 |  | chart | x | 130 | [8 empty] | Front Frame
|  | y | 409 |  |  | y | 410 | [13 empty] | Frame | Front4
[16 empty] | Gross gen | x | 6.05
[17 empty] | y | 3.05 |  |  | Published Frame
| 12mw Arrow | x | 49 | h | 75 |  |  |  |  | Day Visual | h | 271 | [8 empty] | Power Gen | Front frame all
|  | y | 410 | w | 67 | [5 empty] | w | 1120 |  |  |  | MW/Hr | x | 12.6 |  |  |  | Front_Frame4
[17 empty] | y | 3.05
| 43mw Arrow | x | 49 | h | 75 | [5 empty] | x | 125 | [8 empty] | 690
|  | y | 495 | w | 67 | [5 empty] | y | 422 |  |  |  | Aux | x | 19.24
[17 empty] | y | 3.05
| 80mw Arrow | x | 49 | h | 75
|  | y | 495 | w | 67 | [10 empty] | Per | x | 26.1
[13 empty] | Dearator | 738 |  |  | y
187
| 12 mw arrow | x | 2.3 |  | panel | x | 2.08 | h | 6.47
|  | y | 10.97 |  |  | y | 3.8 | w | 2.99 |  |  |  | Efi | 738
437
| 80 mw | x | 2.3 | [12 empty] | Boiler Efi | 743
|  | y | 15.44 | [13 empty] | 187 |  |  | Click above button to Swith 80-43MW and 12MW Plant
[11 empty] | x | y
[10 empty] | whrb | 342 | 140 |  |  |  | Steam Pro | 223
[10 empty] | 20 | 709 | 10 |  |  |  |  | 187
[10 empty] | 30 | 1074 | 140
[16 empty] | Net | 223
437
[19 empty] | H | 240
[10 empty] | Button |  | x | y | h | w | Dea | 738 |  | w | 510
[11 empty] | Isgec | 342 | 137 | 48 | 100 |  | 437
[11 empty] | thermax | 586 | 137 | 48 | 100
[11 empty] | afbc-1 | 830 | 137 | 48 | 100
[11 empty] | afbc-2 | 1074 | 137 | 48 | 100
Boiler frame
[18 empty] | x | y | h | w
[17 empty] | isgec | 8.16 | 1.6 | 1.1 | 5.18
[11 empty] | steam | 223 |  | 240
[12 empty] | 187 |  | 510

## Sheet1
Boilers Report for 80 & 43 MW plant
Steam Con.TPH Boiler wise
Boiler Efficiency | as it is
Boiler Net Enthalpy | as it is
Specific Steam cons. For 80 & 43MW Plant | as it is
Steam to Dearetor 80 & 43MW Plant | MT/24
Boilers Report for 12MW plant
Total Steam Generate | Sum of 4 Boilers
Steam 30 & 20 TPH | Gross/Running hrs
SSC for 12MW
Net Enthalpy
Boiler Eficiency
Fuel Consumption
Lignite Cons for 4 Boilers | Steam/lignite pr Boiler
Coal Cons for 4 Boilers | Steam/lignite pr Boiler
Tail Gas | Used for Thermax-350 TPH
Quality of both fuel | as it is